Power Procedures for Field Lights

Fields 1 & 3

* The breaker controls are at the telephone pole just past the restrooms following the path to field 3.
* The breaker boxes are numbered 1 thru 4. 1 & 2 are for field 1 and 3 & 4 are for field 3. You lift the door up to access the breaker.
* The lights take approximately to 15 minutes to warm up and come to full strength. The umpire will typically tell you when to turn them on.
* To turn the lights on or off, you flip the breaker to the other position. They work the same as the breakers in your house they are just bigger.

If you are unsure of what to do and the game is still in progress on the other field just leave them all on.

If you accidentally turn off the wrong breaker, you have to wait 5 minutes before you turn it back on. If not, you take a chance of blowing bulb(s). They cost $700 each.

Field 5

* The breaker controls are to the right of the door to the equipment room.
* The locking tab is on the bottom right corner of the box. Pull the tab toward you and slide the front cover down and then the door will swing open.
* The lights take approximately to 15 minutes to warm up and come to full strength. The umpire will typically tell you when to turn them on.
* To turn the lights on or off, you flip the breaker to the other position. They work the same as the breakers in your house they are just bigger.

If the breaker trips out, you have to shut it off and wait 5 minutes to turn it back on.